## Data
1. Measure spectral irradiance produced by lamp at 250mm over the spectral range 250-400nm in 1nm steps
2. Input Lamp Properties
Non-reflector Lamp
Lamp Wattage (W) | 100 | (Input) |  |  |  | Broad reflector angle α>230°
Reflector Type Code | Narrow reflector angle α<200° | (Select from list) |  |  |  | Narrow reflector angle α<200°
Regular reflector angle 200°≤α≤230°
3. Input Spectral Irradiance Data here… |  |  | 4. Result
Wavelength | Irradiance |  |  |  |  | Erythema Action Spectrum | NMSC Action Spectrum | Erthemal weighted Irradiance | Integrate | NMSC weighted | Integrate
(nm) | (mW m-2 nm-1) |  | Weighted Integrated Irradiance | Spectral Range (nm) | Value (mW.m-2) | (au) | (au) | (mW m-2 nm-1) | (mW m-2) | (mW m-2 nm-1) | (mW m-2)
250 | 0 |  | Effective Erythemal Irradiance | 250-400 | 139 | 1 | 0.0109 | 0 | 0 | 0 | 0
251 | 0 |  | NMSC Effective Irradiance | 250-320 | 208.2 | 1 | 0.011139 | 0 | 0 | 0 | 0
252 | 0 |  | NMSC Effective Irradiance | 320-400 | 29.2 | 1 | 0.011383 | 0 | 0 | 0 | 0
253 | 0 |  |  |  |  | 1 | 0.011633 | 0 | 0 | 0 | 0
254 | 0 |  | IEC 61228 Lamp UV Equivalency Code |  |  | 1 | 0.011888 | 0 | 0 | 0 | 0
255 | 0 |  | 100-N-139/7.1 |  |  | 1 | 0.012158 | 0 | 0 | 0 | 0
256 | 0 |  |  |  |  | 1 | 0.012435 | 0 | 0.064365 | 0 | 0.00081859
257 | 0.12873 |  |  |  |  | 1 | 0.012718 | 0.12873 | 0.064365 | 0.0016372 | 0.00081859
258 | 0 |  |  |  |  | 1 | 0.013007 | 0 | 0 | 0 | 0
259 | 0 |  |  |  |  | 1 | 0.013303 | 0 | 0 | 0 | 0
260 | 0 |  |  |  |  | 1 | 0.013605 | 0 | 0 | 0 | 0
261 | 0 |  |  |  |  | 1 | 0.013915 | 0 | 0 | 0 | 0
262 | 0 |  |  |  |  | 1 | 0.014231 | 0 | 0 | 0 | 0
263 | 0 |  |  |  |  | 1 | 0.014555 | 0 | 0 | 0 | 0
264 | 0 |  |  |  |  | 1 | 0.014886 | 0 | 0 | 0 | 0
265 | 0 |  |  |  |  | 1 | 0.015225 | 0 | 0 | 0 | 0
266 | 0 |  |  |  |  | 1 | 0.015571 | 0 | 0 | 0 | 0
267 | 0 |  |  |  |  | 1 | 0.015925 | 0 | 0 | 0 | 0
268 | 0 |  |  |  |  | 1 | 0.016287 | 0 | 0 | 0 | 0
269 | 0 |  |  |  |  | 1 | 0.016658 | 0 | 0 | 0 | 0
270 | 0 |  |  |  |  | 1 | 0.017037 | 0 | 0 | 0 | 0
271 | 0 |  |  |  |  | 1 | 0.017424 | 0 | 0.046783 | 0 | 0.00083372
272 | 0.093566 |  |  |  |  | 1 | 0.017821 | 0.093566 | 0.046783 | 0.0016674 | 0.00083372
273 | 0 |  |  |  |  | 1 | 0.018226 | 0 | 0 | 0 | 0
274 | 0 |  |  |  |  | 1 | 0.018641 | 0 | 0 | 0 | 0
275 | 0 |  |  |  |  | 1 | 0.019065 | 0 | 0.0088314 | 0 | 0.0001722
276 | 0.017663 |  |  |  |  | 1 | 0.019498 | 0.017663 | 0.0089151 | 0.00034439 | 0.00017386
277 | 0.00016733 |  |  |  |  | 1 | 0.019942 | 0.00016733 | 8.3667e-05 | 3.337e-06 | 1.6685e-06
278 | 0 |  |  |  |  | 1 | 0.020395 | 0 | 0 | 0 | 0
279 | 0 |  |  |  |  | 1 | 0.020859 | 0 | 0 | 0 | 0
280 | 0 |  |  |  |  | 1 | 0.021334 | 0 | 0 | 0 | 0
281 | 0 |  |  |  |  | 1 | 0.025368 | 0 | 0 | 0 | 0
282 | 0 |  |  |  |  | 1 | 0.030166 | 0 | 0 | 0 | 0
283 | 0 |  |  |  |  | 1 | 0.035871 | 0 | 0 | 0 | 0
284 | 0 |  |  |  |  | 1 | 0.057388 | 0 | 0 | 0 | 0
285 | 0 |  |  |  |  | 1 | 0.088044 | 0 | 0 | 0 | 0
286 | 0 |  |  |  |  | 1 | 0.12967 | 0 | 0.0074283 | 0 | 0.001364
287 | 0.014857 |  |  |  |  | 1 | 0.18362 | 0.014857 | 0.047372 | 0.0027279 | 0.011373
288 | 0.079887 |  |  |  |  | 1 | 0.25059 | 0.079887 | 0.47902 | 0.020018 | 0.15493
289 | 0.87815 |  |  |  |  | 1 | 0.33005 | 0.87815 | 1.1649 | 0.28983 | 0.45002
290 | 1.4517 |  |  |  |  | 1 | 0.42034 | 1.4517 | 1.1108 | 0.61022 | 0.50304
291 | 0.76994 |  |  |  |  | 1 | 0.51414 | 0.76994 | 0.55257 | 0.39586 | 0.30016
292 | 0.3352 |  |  |  |  | 1 | 0.60995 | 0.3352 | 0.43213 | 0.20446 | 0.28823
293 | 0.52907 |  |  |  |  | 1 | 0.70314 | 0.52907 | 0.5445 | 0.37201 | 0.4068
294 | 0.55992 |  |  |  |  | 1 | 0.78866 | 0.55992 | 0.63052 | 0.44159 | 0.52295
295 | 0.70111 |  |  |  |  | 1 | 0.86195 | 0.70111 | 3.4926 | 0.60432 | 3.1917
296 | 6.2841 |  |  |  |  | 1 | 0.91965 | 6.2841 | 10.0631 | 5.7792 | 9.5266
297 | 13.8421 |  |  |  |  | 1 | 0.95896 | 13.8421 | 12.165 | 13.2741 | 11.8229
298 | 10.4879 |  |  |  |  | 1 | 0.98892 | 10.4879 | 7.3225 | 10.3716 | 7.2644
299 | 4.1571 |  |  |  |  | 1 | 1 | 4.1571 | 3.207 | 4.1571 | 3.8043
300 | 3.4793 |  |  |  |  | 0.64863 | 0.992 | 2.2568 | 2.6465 | 3.4514 | 4.5378
301 | 5.8122 |  |  |  |  | 0.5224 | 0.96766 | 3.0363 | 4.2601 | 5.6243 | 8.8672
302 | 13.0342 |  |  |  |  | 0.42073 | 0.9291 | 5.4839 | 5.7582 | 12.11 | 13.1621
303 | 17.803 |  |  |  |  | 0.33884 | 0.79841 | 6.0325 | 4.935 | 14.2141 | 11.8695
304 | 14.0621 |  |  |  |  | 0.2729 | 0.67734 | 3.8375 | 3.4271 | 9.5248 | 8.6567
305 | 13.7253 |  |  |  |  | 0.21979 | 0.56747 | 3.0166 | 2.9779 | 7.7886 | 7.7984
306 | 16.6041 |  |  |  |  | 0.17701 | 0.47026 | 2.9391 | 2.9424 | 7.8082 | 7.891
307 | 20.6622 |  |  |  |  | 0.14256 | 0.38591 | 2.9456 | 2.9171 | 7.9738 | 7.9353
308 | 25.1579 |  |  |  |  | 0.11482 | 0.31389 | 2.8885 | 2.7981 | 7.8968 | 7.6583
309 | 29.282 |  |  |  |  | 0.092469 | 0.25339 | 2.7077 | 2.6929 | 7.4198 | 7.3631
310 | 35.9599 |  |  |  |  | 0.074473 | 0.20318 | 2.678 | 2.686 | 7.3064 | 7.2921
311 | 44.916 |  |  |  |  | 0.059979 | 0.16203 | 2.694 | 3.789 | 7.2778 | 10.1435
312 | 101.1044 |  |  |  |  | 0.048306 | 0.12867 | 4.8839 | 6.5502 | 13.0092 | 17.2535
313 | 211.1897 |  |  |  |  | 0.038905 | 0.10179 | 8.2164 | 7.3493 | 21.4978 | 18.9462
314 | 206.8786 |  |  |  |  | 0.031333 | 0.079247 | 6.4821 | 4.7304 | 16.3945 | 11.8363
315 | 118.0389 |  |  |  |  | 0.025235 | 0.061659 | 2.9787 | 2.379 | 7.2782 | 5.7359
316 | 87.5482 |  |  |  |  | 0.020324 | 0.047902 | 1.7793 | 1.692 | 4.1937 | 3.9215
317 | 98.0355 |  |  |  |  | 0.016368 | 0.037223 | 1.6046 | 1.5349 | 3.6492 | 3.4324
318 | 111.1362 |  |  |  |  | 0.013183 | 0.028934 | 1.4651 | 1.3934 | 3.2156 | 3.0101
319 | 124.4902 |  |  |  |  | 0.010617 | 0.022529 | 1.3217 | 1.2554 | 2.8046 | 2.6249
320 | 139.0565 |  |  |  |  | 0.008551 | 0.017584 | 1.1891 | 1.1342 | 2.4452 | 2.3007
321 | 156.7252 |  |  |  |  | 0.006887 | 0.013758 | 1.0794 | 1.0221 | 2.1562 | 2.0178
322 | 173.9597 |  |  |  |  | 0.005546 | 0.010804 | 0.96478 | 0.91656 | 1.8795 | 1.7683
323 | 194.3912 |  |  |  |  | 0.004467 | 0.008525 | 0.86835 | 0.82421 | 1.6572 | 1.5612
324 | 216.8656 |  |  |  |  | 0.003597 | 0.006756 | 0.78007 | 0.73345 | 1.4651 | 1.3709
325 | 237.0829 |  |  |  |  | 0.002897 | 0.005385 | 0.68683 | 0.6425 | 1.2767 | 1.1916
326 | 256.3944 |  |  |  |  | 0.002333 | 0.004316 | 0.59817 | 0.56647 | 1.1066 | 1.0489
327 | 284.6011 |  |  |  |  | 0.001879 | 0.003483 | 0.53477 | 0.5021 | 0.99127 | 0.93438
328 | 310.0664 |  |  |  |  | 0.001514 | 0.00283 | 0.46944 | 0.4816 | 0.87749 | 0.82984
329 | 337.7356 |  |  |  |  | 0.001462 | 0.002316 | 0.49377 | 0.50307 | 0.7822 | 0.73757
330 | 362.6082 |  |  |  |  | 0.001413 | 0.001911 | 0.51237 | 0.52598 | 0.69294 | 0.66075
331 | 395.3143 |  |  |  |  | 0.001365 | 0.00159 | 0.5396 | 0.55337 | 0.62855 | 0.60107
332 | 430.302 |  |  |  |  | 0.001318 | 0.001333 | 0.56714 | 0.57928 | 0.57359 | 0.54885
333 | 464.2259 |  |  |  |  | 0.001274 | 0.001129 | 0.59142 | 0.60898 | 0.52411 | 0.50757
334 | 509.371 |  |  |  |  | 0.00123 | 0.000964 | 0.62653 | 0.63256 | 0.49103 | 0.46304
335 | 537.0919 |  |  |  |  | 0.001189 | 0.00081 | 0.6386 | 0.6416 | 0.43504 | 0.41068
336 | 561.4943 |  |  |  |  | 0.001148 | 0.000688 | 0.6446 | 0.64452 | 0.38631 | 0.36429
337 | 581.106 |  |  |  |  | 0.001109 | 0.000589 | 0.64445 | 0.64892 | 0.34227 | 0.32656
338 | 609.5069 |  |  |  |  | 0.001072 | 0.00051 | 0.65339 | 0.65675 | 0.31085 | 0.29765
339 | 637.7889 |  |  |  |  | 0.001035 | 0.000446 | 0.66011 | 0.66364 | 0.28445 | 0.27366
340 | 667.1754 |  |  |  |  | 0.001 | 0.000394 | 0.66718 | 0.66886 | 0.26287 | 0.26818
341 | 694.1362 |  |  |  |  | 0.000966 | 0.000394 | 0.67054 | 0.66973 | 0.27349 | 0.27799
342 | 716.9575 |  |  |  |  | 0.000933 | 0.000394 | 0.66892 | 0.66955 | 0.28248 | 0.28761
343 | 742.9891 |  |  |  |  | 0.000902 | 0.000394 | 0.67018 | 0.66599 | 0.29274 | 0.29606
344 | 759.8313 |  |  |  |  | 0.000871 | 0.000394 | 0.66181 | 0.65858 | 0.29937 | 0.3032
345 | 779.2388 |  |  |  |  | 0.000841 | 0.000394 | 0.65534 | 0.65016 | 0.30702 | 0.3098
346 | 793.3403 |  |  |  |  | 0.000813 | 0.000394 | 0.64499 | 0.64065 | 0.31258 | 0.31598
347 | 810.6008 |  |  |  |  | 0.000785 | 0.000394 | 0.63632 | 0.62928 | 0.31938 | 0.32119
348 | 819.8255 |  |  |  |  | 0.000759 | 0.000394 | 0.62225 | 0.61107 | 0.32301 | 0.32273
349 | 818.415 |  |  |  |  | 0.000733 | 0.000394 | 0.5999 | 0.59372 | 0.32246 | 0.32471
350 | 829.8483 |  |  |  |  | 0.000708 | 0.000394 | 0.58753 | 0.57684 | 0.32696 | 0.32654
351 | 827.7034 |  |  |  |  | 0.000684 | 0.000394 | 0.56615 | 0.55508 | 0.32612 | 0.32519
352 | 823.0023 |  |  |  |  | 0.000661 | 0.000394 | 0.544 | 0.5346 | 0.32426 | 0.3243
353 | 823.1923 |  |  |  |  | 0.000638 | 0.000394 | 0.5252 | 0.51395 | 0.32434 | 0.32268
354 | 814.7683 |  |  |  |  | 0.000617 | 0.000394 | 0.50271 | 0.49315 | 0.32102 | 0.32036
355 | 811.4008 |  |  |  |  | 0.000596 | 0.000394 | 0.48359 | 0.46994 | 0.31969 | 0.31617
356 | 793.5469 |  |  |  |  | 0.000575 | 0.000394 | 0.45629 | 0.44559 | 0.31266 | 0.31042
357 | 782.1713 |  |  |  |  | 0.000556 | 0.000394 | 0.43489 | 0.42199 | 0.30818 | 0.30416
358 | 761.8116 |  |  |  |  | 0.000537 | 0.000394 | 0.40909 | 0.39745 | 0.30015 | 0.29652
359 | 743.3572 |  |  |  |  | 0.000519 | 0.000394 | 0.3858 | 0.37477 | 0.29288 | 0.28947
360 | 726.0403 |  |  |  |  | 0.000501 | 0.000394 | 0.36375 | 0.3514 | 0.28606 | 0.28103
361 | 700.5274 |  |  |  |  | 0.000484 | 0.000394 | 0.33906 | 0.32798 | 0.27601 | 0.2714
362 | 677.1271 |  |  |  |  | 0.000468 | 0.000394 | 0.3169 | 0.30613 | 0.26679 | 0.26213
363 | 653.4733 |  |  |  |  | 0.000452 | 0.000394 | 0.29537 | 0.29091 | 0.25747 | 0.25787
364 | 655.4949 |  |  |  |  | 0.000437 | 0.000394 | 0.28645 | 0.30396 | 0.25827 | 0.2792
365 | 761.7829 |  |  |  |  | 0.000422 | 0.000394 | 0.32147 | 0.32701 | 0.30014 | 0.31104
366 | 817.0792 |  |  |  |  | 0.000407 | 0.000394 | 0.33255 | 0.30135 | 0.32193 | 0.29604
367 | 685.6408 |  |  |  |  | 0.000394 | 0.000394 | 0.27014 | 0.23927 | 0.27014 | 0.24311
368 | 548.4093 |  |  |  |  | 0.00038 | 0.000394 | 0.2084 | 0.19436 | 0.21607 | 0.20483
369 | 491.346 |  |  |  |  | 0.000367 | 0.000394 | 0.18032 | 0.17183 | 0.19359 | 0.18743
370 | 460.0814 |  |  |  |  | 0.000355 | 0.000394 | 0.16333 | 0.15629 | 0.18127 | 0.17636
371 | 435.1326 |  |  |  |  | 0.000343 | 0.000394 | 0.14925 | 0.14278 | 0.17144 | 0.16685
372 | 411.8081 |  |  |  |  | 0.000331 | 0.000394 | 0.13631 | 0.12997 | 0.16225 | 0.15723
373 | 386.3213 |  |  |  |  | 0.00032 | 0.000394 | 0.12362 | 0.11775 | 0.15221 | 0.14743
374 | 362.0538 |  |  |  |  | 0.000309 | 0.000394 | 0.11187 | 0.10649 | 0.14265 | 0.13793
375 | 338.1213 |  |  |  |  | 0.000299 | 0.000394 | 0.1011 | 0.09565 | 0.13322 | 0.12831
376 | 313.2028 |  |  |  |  | 0.000288 | 0.000394 | 0.090202 | 0.085951 | 0.1234 | 0.11939
377 | 292.8299 |  |  |  |  | 0.000279 | 0.000394 | 0.0817 | 0.077381 | 0.11537 | 0.11119
378 | 271.61 |  |  |  |  | 0.000269 | 0.000394 | 0.073063 | 0.069346 | 0.10701 | 0.10323
379 | 252.4188 |  |  |  |  | 0.00026 | 0.000394 | 0.065629 | 0.062143 | 0.099453 | 0.095764
380 | 233.6927 |  |  |  |  | 0.000251 | 0.000394 | 0.058657 | 0.055472 | 0.092075 | 0.088426
381 | 215.1723 |  |  |  |  | 0.000243 | 0.000394 | 0.052287 | 0.049396 | 0.084778 | 0.081541
382 | 198.7418 |  |  |  |  | 0.000234 | 0.000394 | 0.046506 | 0.043895 | 0.078304 | 0.07514
383 | 182.6774 |  |  |  |  | 0.000226 | 0.000394 | 0.041285 | 0.038935 | 0.071975 | 0.068897
384 | 167.0539 |  |  |  |  | 0.000219 | 0.000394 | 0.036585 | 0.034535 | 0.065819 | 0.063239
385 | 153.9569 |  |  |  |  | 0.000211 | 0.000394 | 0.032485 | 0.030704 | 0.060659 | 0.058261
386 | 141.7837 |  |  |  |  | 0.000204 | 0.000394 | 0.028924 | 0.027244 | 0.055863 | 0.053496
387 | 129.7676 |  |  |  |  | 0.000197 | 0.000394 | 0.025564 | 0.024116 | 0.051128 | 0.048943
388 | 118.6748 |  |  |  |  | 0.000191 | 0.000394 | 0.022667 | 0.021314 | 0.046758 | 0.04475
389 | 108.4815 |  |  |  |  | 0.000184 | 0.000394 | 0.019961 | 0.018811 | 0.042742 | 0.040918
390 | 99.2255 |  |  |  |  | 0.000178 | 0.000394 | 0.017662 | 0.016657 | 0.039095 | 0.037473
391 | 90.994 |  |  |  |  | 0.000172 | 0.000394 | 0.015651 | 0.014667 | 0.035852 | 0.034165
392 | 82.4308 |  |  |  |  | 0.000166 | 0.000394 | 0.013684 | 0.012822 | 0.032478 | 0.030964
393 | 74.7473 |  |  |  |  | 0.00016 | 0.000394 | 0.01196 | 0.011254 | 0.02945 | 0.028131
394 | 68.0492 |  |  |  |  | 0.000155 | 0.000394 | 0.010548 | 0.0099239 | 0.026811 | 0.02562
395 | 62.0013 |  |  |  |  | 0.00015 | 0.000394 | 0.0093002 | 0.0087541 | 0.024429 | 0.023366
396 | 56.6065 |  |  |  |  | 0.000145 | 0.000394 | 0.0082079 | 0.0076973 | 0.022303 | 0.021264
397 | 51.333 |  |  |  |  | 0.00014 | 0.000394 | 0.0071866 | 0.0067647 | 0.020225 | 0.019369
398 | 46.9843 |  |  |  |  | 0.000135 | 0.000394 | 0.0063429 | 0.0059634 | 0.018512 | 0.017718
399 | 42.9528 |  |  |  |  | 0.00013 | 0.000394 | 0.0055839 | 0.0052245 | 0.016923 | 0.016068
400 | 38.6125 |  |  |  |  | 0.000126 | 0.000394 | 0.0048652 |  | 0.015213
0